## Instructions for CWS
Dropdown Menu Choices
Are at least 20 percent of the structures served by the water system are multiple-family residences? | LSL (Y/N/Unknown) | Indoor Plumbing Material | Single or Multi Family Residence | Routine/ Backup
Y | Y | lead pipes in plumbing | S | R
N | N | 1983<lead solder<1986 | M | B
| Unknown | lead solder before 1983 | Unknown
no lead solder or lead pipes
unknown

## CWS with SFS only (hidden)
Lead and Copper Site Sample Plan
I. System Information
PWS Name
PWS ID No. | [7 empty] | lead piping in plumbing
Serving Population | [5 empty] | 10016 |  | 1983<lead solder<1986
lead solder before 1983
II. Minimum Required Number of Samples | [7 empty] | no lead in plumbing
Standard Monitoring | [5 empty] | 60
Reduced Monitoring | [5 empty] | 30
Recommended Number of Sample Sites | [5 empty] | 120
No. | Sampling Site Address | LSL (Y/N) | Indoor Plumbing Material | (R)egular or (B)ackup | Site Tier 1,2,3, Other | Notes
1 | [6 empty] | F15 (Site Tier) Determination
2 | [6 empty] | If C15 is "Y" or "yes"; it is Tier 1
3 | [6 empty] | If C15 is "N" or "no" and D15 is "lead piping in plumbing"; F15 is Tier 1
4 | [6 empty] | If C15 is "N" or "no" and D15 is "1983<lead solder<1986"; F15 is Tier 1
5 | [6 empty] | If C15 is "N" or "no" and D15 is "lead solder before 1983"; F15 is Tier 3
6 | [6 empty] | If C15 is" N" or "no" and D15 is "no lead in plumbing"; F15 is Other
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
1983<lead solder<1986
lead solder after 1986
no lead plumbing
other

## CWS
Lead and Copper Site Sample Plan
I. System Information ⓘ
PWS Name
PWS ID No. ⓘ |  |  |  | Serving Population
Are at least 20 percent of the structures served by the water system are multiple-family residences? (Y/N) ⓘ
II. Minimum Required Number of Samples ⓘ
Standard Monitoring
Reduced Monitoring
Recommended Number of Sample Sites
III. Notes
1. Choose lead service line “LSL” if any portion of the service line is made of lead. This does not include lead gooseneck or lead connector.
2. Choose “no lead solder or lead pipes” for indoor plumbing installed after 1986.
3. Don't use multifamily residences unless you have no more single-family residences with an LSL, lead in indoor plumbing, or copper pipes with lead solder installed between 1983 and 1986 in your distribution system.
4. You must choose "Y" or "N" for the question in Section I about whether at least 20 percent of the structures served by the water system are multiple-family residences. If you don't know the answer, choose "N."
5. If "False:” • the site is not a qualifying lead and copper sampling site; or • information about service line material, indoor plumbing material, residential building structure and/or whether at least 20% of the structure served by the system are multifamily, is missing.
6. Choose “R” for sites you use on a regular basis to achieve the minimum required compliance. You can have more “R” sites than the minimum if you sample more than the minimum number of required samples to count for unexpected events, e.g., unresponsive consumers. Choose “B” for all other sites.
IV. Attestation
I certify that I have follwed the "Instructions on How to Complete the LCR Site Sample Plan, and, to the best of my knowledge, the information presented in Sections I and V is accurate.
Name
Title | [5 empty] | Date
V. Lead and Copper Sample Sites
|  | Choose from dropdown menus. See notes 1,2, 3 and 4 for additional information. |  |  |  | If "FALSE" see note 4 and 5. | See note 6.
No. | Sampling Site Address | LSL (Y/N/Unknown) | Indoor Plumbing Material | Single or Multi Family Residence | Site | Site Tier (1/2/3/Other) | (R)outine/ (B)ackup
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50

## CWS algorithm (hidden)
LSL (Y/N) | Indoor Plumbing Material | Single/Multi Family | 20% MF? (Y/N) | Site Tier | Notes
Y | lead pipes in plumbing | S | Y or N | Tier 1
| 1983<lead solder<1986 | S | Y or N | Tier 1
| lead solder before 1983 | S | Y or N | Tier 1
| no lead solder or lead pipes | S | Y or N | Tier 1
| unknown | S | Y or N | Tier 1
| no information entered | S | Y or N | Tier 1
N | lead pipes in plumbing | S | Y or N | Tier 1
| 1983<lead solder<1986 | S | Y or N | Tier 1
| lead solder before 1983 | S | Y or N | Tier 3
| no lead solder or lead pipes | S | Y or N | Other
| unknown | S | Y or N | FALSE
| no information entered | S | Y or N | FALSE
unknown | lead pipes in plumbing | S | Y or N | Tier 1
| 1983<lead solder<1986 | S | Y or N | Tier 1
| lead solder before 1983 | S | Y or N | FALSE | could have been "Tier 3"
| no lead solder or lead pipes | S | Y or N | FALSE
| unknown | S | Y or N | FALSE
| no information entered | S | Y or N | FALSE
no information entered | lead pipes in plumbing | S | Y or N | Tier 1
| 1983<lead solder<1986 | S | Y or N | Tier 1
| lead solder before 1983 | S | Y or N | FALSE | could have been "Tier 3"
| no lead solder or lead pipes | S | Y or N | FALSE
| unknown | S | Y or N | FALSE
| no information entered | S | Y or N | FALSE
Y | lead pipes in plumbing | M | Y | Tier 1
|  |  | N | Tier 2
| 1983<lead solder<1986 | M | Y | Tier 1
|  |  | N | Tier 2
| lead solder before 1983 | M | Y | Tier 1
|  |  | N | Tier 2
| no lead solder or lead pipes | M | Y | Tier 1
|  |  | N | Tier 2
| unknown | M | Y | Tier 1
|  |  | N | Tier 2
| no information entered | M | Y | Tier 1
|  | M | N | Tier 2
N | lead pipes in plumbing | M | Y | Tier 1
|  |  | N | Tier 2
| 1983<lead solder<1986 | M | Y | Tier 1
|  |  | N | Tier 2
| lead solder before 1983 | M | Y or N | Other
| no lead solder or lead pipes | M | Y or N | Other
| unknown | M | Y or N | FALSE
| no information entered | M | Y or N | FALSE
unknown | lead pipes in plumbing | M | Y | Tier 1
|  |  | N | Tier 2
| 1983<lead solder<1986 | M | Y | Tier 1
|  |  | N | Tier 2
| lead solder before 1983 | M | Y or N | FALSE
| no lead solder or lead pipes | M | Y or N | FALSE
| unknown | M | Y or N | FALSE
| no information entered | M | Y or N | FALSE
no information entered | lead pipes in plumbing | M | Y | Tier 1
|  |  | N | Tier 2
| 1983<lead solder<1986 | M | Y | Tier 1
|  |  | N | Tier 2
| lead solder before 1983 | M | Y or N | FALSE
| no lead solder or lead pipes | M | Y or N | FALSE
| unknown | M | Y or N | FALSE
| no information entered | M | Y or N | FALSE
Y | lead pipes in plumbing | unknown | Y or N | FALSE
| 1983<lead solder<1986 | unknown | Y or N | FALSE
| lead solder before 1983 | unknown | Y or N | FALSE
| no lead solder or lead pipes | unknown | Y or N | FALSE
| unknown | unknown | Y or N | FALSE
| no information entered | unknown | Y or N | FALSE
N | lead pipes in plumbing | unknown | Y or N | FALSE
| 1983<lead solder<1986 | unknown | Y or N | FALSE
| lead solder before 1983 | unknown | Y or N | FALSE
| no lead solder or lead pipes | unknown | Y or N | FALSE
| unknown | unknown | Y or N | FALSE
| no information entered | unknown | Y or N | FALSE
unknown | lead pipes in plumbing | unknown | Y or N | FALSE
| 1983<lead solder<1986 | unknown | Y or N | FALSE
| lead solder before 1983 | unknown | Y or N | FALSE
| no lead solder or lead pipes | unknown | Y or N | FALSE
| unknown | unknown | Y or N | FALSE
| no information entered | unknown | Y or N | FALSE
no information entered | lead pipes in plumbing | unknown | Y or N | FALSE
| 1983<lead solder<1986 | unknown | Y or N | FALSE
| lead solder before 1983 | unknown | Y or N | FALSE
| no lead solder or lead pipes | unknown | Y or N | FALSE
| unknown | unknown | Y or N | FALSE
| no information entered | unknown | Y or N | FALSE
Y | lead pipes in plumbing | no information entered | Y or N | FALSE
| 1983<lead solder<1986 | no information entered | Y or N | FALSE
| lead solder before 1983 | no information entered | Y or N | FALSE
| no lead solder or lead pipes | no information entered | Y or N | FALSE
| unknown | no information entered | Y or N | FALSE
| no information entered | no information entered | Y or N | FALSE
N | lead pipes in plumbing | no information entered | Y or N | FALSE
| 1983<lead solder<1986 | no information entered | Y or N | FALSE
| lead solder before 1983 | no information entered | Y or N | FALSE
| no lead solder or lead pipes | no information entered | Y or N | FALSE
| unknown | no information entered | Y or N | FALSE
| no information entered | no information entered | Y or N | FALSE
unknown | lead pipes in plumbing | no information entered | Y or N | FALSE
| 1983<lead solder<1986 | no information entered | Y or N | FALSE
| lead solder before 1983 | no information entered | Y or N | FALSE
| no lead solder or lead pipes | no information entered | Y or N | FALSE
| unknown | no information entered | Y or N | FALSE
| no information entered | no information entered | Y or N | FALSE
no information entered | lead pipes in plumbing | no information entered | Y or N | FALSE
| 1983<lead solder<1986 | no information entered | Y or N | FALSE
| lead solder before 1983 | no information entered | Y or N | FALSE
| no lead solder or lead pipes | no information entered | Y or N | FALSE
| unknown | no information entered | Y or N | FALSE
| no information entered | no information entered | Y or N | FALSE

## NTNC algorithm (hidden)
LSL (Y/N) | Indoor Plumbing Material | Site Tier | Notes
Y | lead pipes in plumbing | Tier 1
| 1983<lead solder<1986 | Tier 1
| lead solder before 1983 | Tier 1
| no lead solder or lead pipes | Tier 1
| unknown | Tier 1
| no information entered | Tier 1
N | lead pipes in plumbing | Tier 1
| 1983<lead solder<1986 | Tier 1
| lead solder before 1983 | tier 2
| no lead solder or lead pipes | Other
| unknown | FALSE
| no information entered | FALSE
unknown | lead pipes in plumbing | Tier 1
| 1983<lead solder<1986 | Tier 1
| lead solder before 1983 | FALSE | Could have been Tier 2
| no lead solder or lead pipes | FALSE
| unknown | FALSE
| no information entered | FALSE
no information entered | lead pipes in plumbing | Tier 1
| 1983<lead solder<1986 | Tier 1
| lead solder before 1983 | FALSE | Could have been Tier 2
| no lead solder or lead pipes | FALSE
| unknown | FALSE
| no information entered | FALSE