{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Sampling Plan Template","Example"],"read":"whole","date_system":"1900"}

{"sheet":"Sampling Plan Template","index":0,"n_rows":4,"n_cols":9,"rows_kept":4,"merged":[[0,0,0,8],[1,1,1,8],[2,1,2,3],[2,5,2,8]]}
["Lead in Drinking Water Sampling Plan"]
["School Building Name"]
["Date Last Updated",{"$nulls":3},"Does the building have a lead service line?"]
["School Outlet ID (Should match Remedial Action Plan)","Outlet Location","Outlet Description","Outlet Notable Features (mixing valves, aerators, filters, etc.)","Is the outlet applicable for testing (is used, or may be used, for drinking, cooking, and/or food washing)?\n (If the outlet is 'non-applicable',  ensure signage/engineering controls/education are in place, skip columns F - H, and report the outlet as such on the remedial action plan)","Sampling Order","Date and Time Last Operated Before Sampling","Date and Time of Sampling","Additional Notes"]

{"sheet":"Example","index":1,"n_rows":13,"n_cols":9,"rows_kept":13,"merged":[[0,0,0,8],[1,1,1,8],[2,1,2,3],[2,5,2,8]]}
["Lead in Drinking Water Sampling Plan Example"]
["School Building Name","New York State Department of Health Test School"]
["Date Last Updated","2025-04-08",null,null,"Does the building have a lead service line?","No "]
["School Outlet ID (Should match Remedial Action Plan)","Outlet Location","Outlet Description","Outlet Notable Features (mixing valves, aerators, filters, etc.)","Is the outlet applicable for testing (is used, or may be used, for drinking, cooking, and/or food washing)?\n (If the outlet is 'non-applicable',  ensure signage/engineering controls/education are in place, skip columns F - H, and report the outlet as such on the remedial action plan)","Sampling Order","Date and Time Last Operated Before Sampling","Date and Time of Sampling","Additional Notes"]
["FT001","Outside of room 234","Water Fountain","Aerator","Yes",4,"04/01/2025 6:02pm ","04/02/2025 5:14am"]
["BFFT002","Outside of room 135","Bottle Filler","Filter","Yes",2,"04/01/2025 5:48pm ","04/02/2025 5:05am"]
["BFFT003","Outside of room 135","Water Fountain","Aerator","Yes",1,"04/01/2025 5:49pm ","04/02/2025 5:03am"]
["FT004","Gymnasium ","Water Fountain","Aerator","Yes",5,"04/01/2025 5:40pm","04/02/2025 5:22am "]
["FT005","Library ","Water Fountain","Aerator","Yes",6,"04/01/2025 6:20pm","04/02/2025 5:24am "]
["SK001","Staff Breakroom","Breakroom Sink","Aerator","Yes",3,"04/01/2025 6:12pm","04/02/2025 5:10am "]
["SK002","Room 136","Classroom Sink",null,"No","N/A","N/A","N/A","SEE REMEDIAL ACTION PLAN"]
["BTH001","Between main entrance and room 101","Bathroom Sink",null,"No","N/A","N/A","N/A","SEE REMEDIAL ACTION PLAN"]
["DSHSK001","Kitchen, between walk in fridge door and wall","Dishwashing sink",null,"No","N/A","N/A","N/A","SEE REMEDIAL ACTION PLAN"]