Instructions for Using the “Failure to Develop an Acceptable Initial Service Line Inventory and/or Make Publicly Accessible” Template

Template Attached

All Community Water Systems (CWS) and Non-Transient Non-Community Water systems (NTNCWS) were required to develop an initial service line inventory and inventory summary to identify the materials of service lines and submit it to the State by October 16, 2024 [40 CFR 141.84(a) and New York State Public Health Law (PHL) § 1114-b]. The inventory must include all service lines connected to the public water distribution system regardless of ownership status. Each service line must be characterized as lead, galvanized service line requiring replacement (GSLRR), lead status unknown (unknown), or non-lead using information sources described in the 2021 Lead and Copper Rule Revisions (LCRR) [40 CFR 141.84(a)].

The inventory summary must contain accurate system information, such as the public water system identification number (PWS ID) and the system name to be acceptable to the State. If your inventory or summary was not accepted due to these critical errors, you have not developed an inventory that is acceptable to the State.

Additionally, water systems serving over 50,000 people and any water systems that operate their own websites must make the inventory and summary publicly accessible on their websites [40 CFR 141.84(a)(8)(ii) and PHL § 1114-b (7)].

This template is written for systems that have failed to develop the initial service line material inventory [40 CFR 141.84(a)] and/or make the inventory publicly accessible by October 16, 2024 [40 CFR 141.84(a)(8)]. These are considered lead and copper treatment technique violations.  See Appendix A to Subpart Q of Part 141. Lead and copper treatment technique violations require Tier 2 public notification, and therefore you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)].

The notice must be provided in a form and manner that is reasonably calculated to reach persons served in the required time period. The form and manner of the public notice may vary based on the specific situation and type of water system.

CWSs must use one of the following methods [40 CFR 141.203(c)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill (if delivered within 30 days of the violation)

- Another method approved in writing by the state

NTNCWSs must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

The attached template is appropriate for mailing, posting, or hand delivery. If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave all mandatory language as noted in italics with an asterisk on each end* unchanged.

For water systems serving a large proportion of non-English speaking consumers, this notice must have information in the appropriate language(s) or information on how to receive a translated copy of the notice or contact information on how to request assistance in the appropriate language.

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in the template *in italics with an asterisk on each end.* This information cannot be deleted or modified in any way. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in the template  *in italics with an asterisk on each end.*.

Corrective Action

In your notice, describe corrective actions you are taking. You can use the following language, if appropriate, or develop your own text:

- We are in the process of completing the initial service line inventory and intend to submit it to the State by [timeframe] and make it publicly accessible.

- We completed the initial service line inventory and will make it publicly accessible/have made it publicly accessible on/by [date]. [briefly explain e.g. provide website link or how to access the inventory]. We sent a notice on [include delivery date] explaining how to access the inventory.

If consumers ask for information about testing their water, you should provide the names and contact information of laboratories consumers can call to get their water tested or provide alternate information on how consumers can test their water. You may also share the EPA’s Consumer Tool for Identifying Point-of-Use and Pitcher Filters Certified to Reduce Lead in Drinking Water, available in English and Spanish at: https://www.epa.gov/water-research/consumer-tool-identifying-point-use-and-pitcher-filters-certified-reduce-lead. For more information on lead, consumers can visit the EPA’s lead in water website at https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water, or at https://www.epa.gov/lead.

Repeat Notices

For any unresolved violation, following an initial Tier 2 public notice, you must repeat the notice every three months for as long as the violation persists unless the primacy agency determines that appropriate circumstances warrant a different repeat notice frequency (see 40 CFR 141.203(b)(2)) for further information). For repeat notices, you must state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, consider describing it, or if there are delays, consider letting consumers know.

After Issuing the Notice

Send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Develop an Acceptable Initial Service Line Inventory 
and Make Publicly Accessible

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Develop and Make Public an Initial Service Line Inventory

Our water system recently violated a drinking water requirement. As our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

We were required to develop an initial inventory of service lines connected to our distribution system, including the inventory summary, and make that information publicly available, by October 16, 2024. Service lines are the pipes that connect your home to the pipes in the street. [If combining with reporting violation, include text: “Our system failed to submit the acceptable initial inventory of service lines, including the inventory summary, to the State by October 16, 2024.”] We are required to determine if the service line material of is lead, galvanized service line requiring replacement (GSLRR), lead status unknown (unknown), or non-lead and provide this information to the public.

[If the inventory has not been developed, consider using the following text: There is the potential your service line could be made of lead or contain lead. People living in homes with service lines that are made of or contain lead have an increased risk of exposure to lead from their drinking water.”]

[If applicable, enter the following statement: “We notified persons served at service connections with a lead, galvanized, or unknown service line on [enter date]]”. [If applicable, include directions on how to access the publicly available inventory.]

Health Effects of Lead

*Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems. *

Steps You Can Take to Reduce Your Exposure to Lead in Your Water

- Below are recommended actions that you may take, separately or in combination, if you are concerned about lead in your drinking water. The list also includes where you may find more information and is not intended to be a complete list or to imply that all actions equally reduce lead from drinking water.

Learn what your service line material is. Contact us at [phone number and/or email address] or a licensed plumber to determine if the pipe that connects your home to the water pipes in the street (called a service line) is made from lead, galvanized, or other materials. [For systems replacing lead service lines consider the following text.] To find out about what we are doing to replace lead service lines, please visit [website] or contact us at [phone number and/or email address]. Protect Your Tap: A quick check for lead is EPA’s online step by step guide to learn how to find lead pipes in your home.

Learn about construction in your neighborhood.  If your service line is made of lead or galvanized you should be aware of any nearby construction or maintenance work that could disturb the line. Construction may disturb the service line and cause lead to be released from lead or galvanized service lines in the area.

- Use your filter properly. Using a filter can reduce lead in drinking water. If you use a filter, make sure you use a filter certified to remove lead. Read the directions to learn how to properly install and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter.

- Clean your aerator. Regularly remove and clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.

- Use cold water. Use only cold water for drinking, cooking, and making baby formula. Remember, boiling water does not remove lead from water.

Run your water. The more time water has been sitting in your home’s pipes, the more lead it may contain. Before drinking, flush your home’s pipes by running the tap, taking a shower, doing laundry, or washing dishes. The amount of time to run the water will depend on whether your home has a lead service line or not, and the length of the lead service line. Residents should contact us at [phone number and/or email address] for recommendations about flushing times in their community.

- Have your water tested. Contact us at [phone number and/or email address] to have your water tested and to learn more about the lead levels in your drinking water.

- [Indicate whether alternative water supplies (i.e., bottled water) should be used.]

- What does this mean?

Identifying the location of lead service lines is a key step in getting them replaced and protecting the public from exposure to lead. Typically, lead enters water supplies by leaching from lead pipes, brass faucets, plumbing with leaded solder, and other plumbing components containing lead. Lead service lines represent a potential source of lead in the water. Lead service lines are more likely to be found in older cities and homes built before 1986. Service lines made of galvanized iron or steel that were previously downstream of lead service lines are classified as galvanized service lines requiring replacement (GSLRR) because galvanized service lines can adsorb lead and contribute to lead in drinking water. Identifying and ultimately removing lead and GSLRR service lines is an important way to protect public health.

What is being done?

[Describe corrective action and when the system expects to return to compliance or resolve the situation.]

For more information on reducing lead exposure around your home or building and the health effects of lead, visit EPA's Web site at http://www.epa.gov/lead or contact your health care provider.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. *

This notice is being sent to you by [Insert Water System Name]

State Public Water System (PWS) ID#: [Insert Water System No.]

Date distributed: [Insert Date]