Sampling and Management Plan for Healthcare Facilities: Guidance and Template

Version: 1.0

New York State Department of Health

Bureau of Water Supply Protection

Sampling and Management Plan for Healthcare Facilities: Guidance and Template

Prepared for:

Prepared by:

Effective Date:

# Contents

SECTION 1.	Facility Information	3

1.1	Hospital Location	3

1.2	Point of Contact	3

1.3	Developer of Sampling and Management Plan	3

1.3.1	Point of contact	3

1.3.2	Address of Company	3

1.4	Effective Date of Sampling and Management Plan	3

1.5	Hospital or Facility Information	4

SECTION 2.	Personnel Roles and Responsibilities	5

2.1	SMP Team Members	5

2.2	SMP Team Functions	5

SECTION 3.	Building Water Systems Descriptions	6

3.1	Potable Water Systems List	6

3.2	Potable Water Systems Descriptions	6

SECTION 4.	Legionella Sampling Plan	6

4.1	Non-Medical Equipment Sampling	6

4.2	Infrastructure Equipment Sampling	7

SECTION 5.	Potable Water System Monitoring	7

SECTION 6.	Potable Water System Maintenance	7

6.1	Hot Potable Water System Maintenance	7

6.2	Cold Potable Water System Maintenance	7

SECTION 7.	Procedures for Responding to Sampling Exceedances	8

SECTION 8.	Procedures in Event of Nosocomial Illnesses	9

References	Error! Bookmark not defined.

# Facility Information

## Facility Location

| Hospital name |  |
| --- | --- |
| Street address |  |
| Building name (if applicable) |  |
| City, Town or Village |  |
| County |  |
| ZIP code |  |
| Latitude-Longitude (if available) |  |

## Point of Contact

| Name |  |
| --- | --- |
| Title |  |
| Phone number |  |
| Email address |  |

## Developer of Sampling and Management Plan

### Point of contact

| Point of contact name |  |
| --- | --- |
| Title |  |
| Phone number |  |
| Mobile phone number |  |
| Email address |  |

### Address of Company

| Company name |  |
| --- | --- |
| Address 1 |  |
| Address 2 |  |
| City, State, ZIP code |  |
| Phone number |  |
| Website (if available) |  |

## Effective Date of Sampling and Management Plan

| Beginning date of SMP |  |
| --- | --- |
| Ending date SMP |  |

## Facility Information

| How many potable cold water systems are in the facility? |  |
| --- | --- |
| How many potable hot water systems are in the facility? |  |
| What is the source(s) of potable water provided to the facility? |  |
| Are there any water reuse systems in the facility? |  |

# Personnel Roles and Responsibilities

## SMP Team Members

| Name |  |
| --- | --- |
| Title |  |
| Employer or company (outside contractor) |  |
| Address |  |
| Telephone |  |
| Email address |  |

## SMP Team Functions

| Function | Individual charged |
| --- | --- |
| Maintenance program administrator |  |
| Physical facilities management |  |
| Engineering |  |
| Infection Control |  |
| Clinical representative |  |
| Laboratory contact |  |
| External consultant |  |

# Building Water Systems Descriptions

## Potable Water Systems List

| Water system designation | Location or portion of building | Purpose |
| --- | --- | --- |

## Potable Water Systems Descriptions

Description:

# Legionella Sampling Plan

| Sample location designator | Sample type | Comments |
| --- | --- | --- |

## Non-Medical Equipment Sampling

| Equipment | Water type | Sampling procedure and schedule |
| --- | --- | --- |

## Infrastructure Equipment Sampling

| Infrastructure item | Potential for contact | Sampling procedure and schedule (excluding cooling towers) |
| --- | --- | --- |

# Potable Water System Monitoring

| Control point | Maximum, minimum or range | Value | Frequency monitored | Corrective action |
| --- | --- | --- | --- | --- |

# Potable Water System Maintenance

## Hot Potable Water System Maintenance

| System component | Procedures/action |
| --- | --- |

## Cold Potable Water System Maintenance

| System component | Procedure/action |
| --- | --- |

# Procedures for Responding to Sampling Exceedances

Decision algorithm for Legionella sampling results

| Procedure designator | Description of procedure/activity |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |

# Procedures in Event of Nosocomial Illnesses

| Procedure designator | Procedure/activity |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |